SCREENING DECISION
February 19, 2003
Hon. Robert Nault
Minister Responsible for Indian and Northern Affairs
Government of Canada
Ottawa, ON
Dear Minister:
RE:
Screening Decision of the Nunavut Impact Review Board (NIRB) on Application:


NIRB #03YN005

DIAND #N2003J0001

Campsite and Research Station, Robert Zubrin, The Mars Society
Authority:
Section 12.4.4 of the Nunavut Land Claim Agreement states:

Upon receipt of a project proposal, NIRB shall screen the proposal and indicate to the Minister in writing that:

a)
the proposal may be processed without a review under Part 5 or 6; NIRB may recommend specific terms and conditions to be attached to any approval, reflecting the primary objectives set out in Section 12.2.5;

b)
the proposal requires review under Part 5 or 6; NIRB shall identify particular issues or concerns which should be considered in such a review;

c)
the proposal is insufficiently developed to permit proper screening, and should be returned to the proponent for clarification; or

d)
the potential adverse impacts of the proposal are so unacceptable that it should be modified or abandoned.

Primary Objectives:

The primary objectives of the Nunavut Land Claims Agreement are set out in section 12.2.5 of the Land Claims Agreement. This section reads:

In carrying out its functions, the primary objectives of NIRB shall be at all times to protect and promote the existing and future well-being of the residents and communities of the Nunavut Settlement Area, and to protect the ecosystemic integrity of the Nunavut Settlement Area. NIRB shall take into account the well-being of the residents of Canada outside the Nunavut Settlement Area. 

The decision of the Board in this case is 12.4.4 (a) the proposal may be processed without a review under Part 5 or 6; NIRB may recommend specific terms and conditions to be attached to any approval, reflecting the primary objectives set out in Section 12.2.5;

 Reasons for Decision:

NIRB’s decision is based on specific considerations that reflect the primary objectives of the Land Claims Agreement. Our considerations in making this decision included:

· storage and disposal of chemicals, fuel, garbage, sewage, and gray water, and impact of these on the ecosystem;

· the impact of campsite and equipment on terrain;

· the impact of ATV activities on archaeological sites or cultural landmarks in the area; 

· community support for the project; and
· clean up/restoration of the camp site and drilling locations upon abandonment.
Terms and Conditions:

That the terms and conditions attached to this screening report will apply.

Fuel and Chemical Storage

1. The Permittee shall ensure that fuel storage containers are not located within thirty (30) metres of the ordinary high water mark of any body of water. 

2. The Permittee shall ensure that any chemicals, fuels or wastes associated with the project do not spread to the surrounding lands or enter into any water body.

3. The Permittee shall store all fuel in a natural depression and take all reasonable precautions to prevent the possibility of migration of spilled petroleum fuel or chemicals over the ground surface.  

4. The Permittee shall have one extra fuel storage container on site equal to, or greater than, the size of the largest fuel container.

5. The Permittee shall examine all fuel and chemical storage containers daily for leaks. All leaks should be prepared immediately.

6. The Permittee shall seal all container outlets except the outlet currently in use.

7. The Permittee shall dispose of all combustible waste petroleum products by incineration or removal from the site.  

8. The Permittee shall control all activities, including maintenance procedures and vehicular refueling, to prevent the entry of petroleum products, debris, slash, rubble or other deleterious substances into the water.

9. The Permittee shall have emergency response and spill contingency plans in place prior to the commencement of the operation.

10. The Permittee shall immediately report all spills of petroleum and hazardous chemicals to the twenty four (24) hour spill report line at (867) 920-8130.

Waste Disposal

11. The Permittee shall not discharge or deposit any refuse substances or other waste materials in any body of water, or on the banks thereof, which will impair the quality of the waters of the natural environment.

12. The Permittee shall not locate any sumps or areas designated for waste disposal within thirty (30) metres of the ordinary high water mark of any body of water, unless otherwise authorized.

13. The Permittee shall incinerate all combustible and food wastes daily.  

14. The Permittee shall keep all garbage and debris in a covered metal container until disposed of.

15. The Permittee shall ensure that all wastes generated through the course of the operation are backhauled and disposed of in an approved dumpsite. 

16. The Permittee shall not bury any wastes.

Wildlife

17. The Permittee shall ensure that there is no damage to wildlife habitat in conducting this operation.

18. The Permittee shall not feed wildlife.

19. The Permittee shall make every effort to prevent the unintentional harassment of polar bears, Peary caribou, muskox and nesting or molting waterfowl at all times. It is an offense under the Wildlife Act to harass wildlife.

20. The Permittee shall use the latest bear detection and deterrent techniques to minimize man-bear interactions. 
21. The Permittee shall immediately report problem wildlife to Department of Sustainable Development wildlife officers.

22. The Permittee shall ensure compliance with Section 36 of the Fisheries Act which requires that no person shall deposit or permit the deposit of a deleterious substance on any type in water frequented by fish or in any place under any conditions where the deleterious substance may enter such a water body.

23. The harmful alteration, disruption or destruction of fish habitat is prohibited under Section 35 of the Fisheries Act. No construction or disturbance of any stream/lake bed or banks of any definable watercourse is permitted unless authorized by DFO.

Environmental

24. The Permittee shall ensure that the land use area is kept clean and tidy at all times.

25. The Permittee shall prepare the site in such a manner as to prevent rutting of the ground surface.

26. The Permittee shall be required to undertake any corrective measures in the event of any damage to the land or water as a result of the Permittee’s operation. 

27. The Permittee shall not use any equipment except of the type, size and number that is listed in the accepted application.

28. The Permittee shall suspend overland travel of equipment or vehicles if rutting occurs.

Camp

29. The Permittee shall not erect camps or store material on the surface ice of lakes or streams.

30. The Permittee shall locate all camps and storage facilities on gravel, sand or other durable land.

Archaeological 

31. The Permittee shall follow all terms and conditions for the protection and restoration of archaeological resources as outlined by the Department of Culture, Language, Elders and Youths (CLEY).

Reclamation

32. The Permittee shall complete all clean-up and restoration of the lands used prior to the expiry date of the permit.

Other Recommendations

1. NIRB would like to encourage the proponent to hire local people and services, to the extent possible. 

2. NIRB strongly advises proponents to consult with local residents regarding their activities in the region. 

3. Any amendment requests deemed by NIRB to be outside the original scope of the project will be considered a new project.

4. The Environmental Protection Branch (DOE), Department of Fisheries and Oceans (DFO), Nunavut Impact Review Board (NIRB), and the Nunavut Water Board (NWB) should be advised of any material changes to plans or operating conditions associated with the project.

Validity of Land Claims Agreement

Section 2.12.2

Where there is any inconsistency or conflict between any federal, territorial and local government laws, and the Agreement, the Agreement shall prevail to the extent of the inconsistency or conflict.

	Dated
	
	at Arviat, NU


          __________________________
 Elizabeth Copland, Chairperson

