### Project Dashboard

3BM-REP1520 Hamlet of Naujaat Water Licence Amendment (148303)

Proposal Status: Conformity Determination Issued

- Overview

- Documents

##### Project Overview

Type of application: New

| Proponent name: | Ms Megan Lusty |
| --- | --- |
| Company: | GN-CGS |

Schedule:

| Start Date: | 2016-05-25 |
| --- | --- |
| End Date: | 2020-04-08 |
| Operation Type: | Annual |

Project Description:

The Hamlet of Naujaat is seeking an amendment to Water Licence 3BM-REP1520 to reflect the decision by the Government of Nunavut, Department of Community and Government Services (GN-CGS), Community Infrastructure Division to cancel the construction tender for the upgraded sewage disposal facility that was approved as part of the renewed Licence issued on April 9, 2015. The Hamlet of Naujaat will continue to use the existing sewage disposal facility, comprised of a Vegetative Filter Strip Wetland Area and sewage drop-off point, which existed under the previous licence NWB3REP0409. There will be no other changes to the existing Licence. NPC issued a letter on September 29, 2014 stating that the previous Licence Amendment/Renewal conforms to the Keewatin Regional Land Use Plan (KRLUP) and that the project proposal was exempt from the requirement for NIRB screening. This letter is attached in Project Documents.

Personnel:

| Persons: | 2 |
| --- | --- |
| Days: | 1460 |

##### Project Map

List of all project geometries:

| ID | Geometry | Location Name |
| --- | --- | --- |
| 946 | point | REP-3 Sewage Drop-off Location |
| 947 | point | REP-6 Discharge from Wetlands |

Planning Regions:

Kivalliq

Affected Areas and Land Types

Municipal

Crown Lands

Settlement Area

##### Project Land Use and Authorizations

Project Land Use

Other

Licensing Agencies

NIRB

NWB

Other Licensing Requirements

Class B Water License

##### Material Use

Equipment

| Type | Quantity | Size | Use |
| --- | --- | --- | --- |
| Sewage Truck | 2 | 12000L | Sewage pick-up from building tanks and drop-off at sewage discharge point |

Fuel Use

| Type | Container(s) | Capacity | UOM | Use |
| --- | --- | --- | --- | --- |
| Diesel | 2 | 100 | Liters | Sewage Truck |

Hazardous Material and Chemical Use

| Type | Container(s) | Capacity | UOM | Use |
| --- | --- | --- | --- | --- |
| No records found. |  |  |  |  |

Water Consumption

| Daily Amount (m3) | Retrieval Method | Retrieval Location |
| --- | --- | --- |
| 230 | Intake at truckfill station | Nuviq Luktujuq Lake |

##### Waste and Impacts

Environmental Impacts

The Government of Nunavut, Department of Community and Government Services (GN-CGS), Community Infrastructure Division determined that the present scope of work for the Naujaat Upgraded Sewage Disposal Facility would not be proceeding at this time. The sewage lagoon design was initiated in 2010/11 and was based on scientific information that was available at that time. Since the Naujaat sewage project was initiated, 5 years of research has been completed on wastewater treatment in Nunavut. This research has greatly improved the understanding of lagoon and wetland systems in Nunavut. Researchers from Dalhousie University presented their findings in Iqaluit on January 11, 2016. Representatives of the Nunavut Water Board (NWB), along with Environment and Climate Change Canada (ECCC) and Indigenous and Northern Affairs Canada (INAC), were present at this information sharing event. GN-CGS is taking the opportunity to review and evaluate the Naujaat sewage lagoon design in light of this current research. GN-CGS will evaluate the Naujaat sewage lagoon design during the summer of 2016 through a site-specific wetlands analysis being conducted by Dalhousie University. This will include a detailed wetland analysis with water quality sampling and dye tracer testing to determine the flow path of discharged sewage. The Naujaat Hamlet Council and community will be consulted throughout this evaluation, and the resulting report will be provided to the NWB. In cancelling the construction tender for the upgraded sewage disposal facility, the Hamlet of Naujaat will continue to use the existing sewage disposal facility, comprised of a Vegetative Filter Strip Wetland Area and sewage drop-off point. Raw wastewater quantity at the sewage discharge location (truck drop-off point) will continue to be reported for Monitoring Program Station REP-3. Discharge quality from the wetlands area will continue to be reported for Monitoring Program Station REP-6, with samples being taken a minimum of three times between June and August. If the Dalhousie University wetland analysis concludes that adequate sewage treatment is not taking place, GN-CGS will determine the required upgrades to the sewage facility and will seek appropriate approval at that time.

Waste Management

| Waste Type | Quantity Generated | Treatement Method | Disposal Method |
| --- | --- | --- | --- |
| Sewage (human waste) | 35,977L (2015) | Vegetative Filter Strip Wetland Area | Sewage Drop-off |

Top of Form

Bottom of Form

Top of Form

Bottom of Form