### Project Dashboard

3AM-ARV1016 Water Reservoir Cell #3 (148586)

Proposal Status: Conformity Determination Issued

##### Project Overview

Type of application: Amendment

| Proponent name: | Megan Lusty |
| --- | --- |
| Company: | GN-CGS |

Schedule:

| Start Date: | 2017-05-16 |
| --- | --- |
| End Date: | 2038-05-16 |
| Operation Type: | Annual |

Project Description:

The Hamlet of Arviat's existing water reservoir includes two cells adjacent to the road out of town to the north of the community. A third cell with an estimated active volume of 103,427 metres cubed is required to meet the water needs of the community to 2038. Locating the new cell (Cell #3) to the west of Cell #1 will share the western berm of Cell #1, reducing the volume of granular needed to be imported, and avoid exposure to high tides, small ponds, or the existing subdrainage system for the cells. Cell #3 will be constructed similar to Cell #1, with a high density polyethylene (HDPE) liner. Equipment is planned to be mobilized to the site during sealift 2017, and construction will take place summer 2018. First fill of the new cell is anticipated for late summer/early fall 2018. The third cell will operate under the Hamlet Water Licence, currently under renewal, 3AM-ARV1016. The contractor must adhear to environmental protection procedures during construction of the new reservoir cell, with measures outlined for the disposal of waste, and protecting drainage systems and waterways. Refer to Environmental Procedures Specifications uploaded to Project Documents. Excavated material is to be reused for the construction of the cell berms.

Summary of Modifications:

Construction of a new water reservoir cell (Cell #3) and new water treatment facility. It has been requested from the NWB that the amount of water authorized be increased to 175,000 cubic metres annually to meet the water demands of the community.

Personnel:

| Persons: | 10 |
| --- | --- |
| Days: | 240 |

##### Project Map

List of all project geometries:

| ID | Geometry | Location Name |
| --- | --- | --- |
| 2819 | polygon | Water Reservoir Cell #3 |
| 2821 | polygon | Existing pumphouse & standby generator building |
| 2822 | polygon | New Water Treatment Plant |

Planning Regions:

Kitikmeot

Affected Areas and Land Types

Municipal

Settlement Area

Keewatin Planning Region

##### Project Land Use and Authorizations

Project Land Use

Other

Licensing Agencies

NIRB: Email verification from Ryan Barry, Director, Technical Services, NIRB to Richard Dwyer, NWB to the file does not require further screening by NIRB.

GN-EDT: Approval from EDT, Nunavut Airports Division for the proposed water reservoir - determined that the development of the water reservoir will not impair the safety of aircraft operating in the airspace surrounding the Arviat airport. Letter from Todd McKay, Director, Nunavut Airports to Paul Clow, CGS.

NWB: Municipal use of water and disposal of waste. Currently under renewal.

Other: Hamlet Council approval of the water infrastructure - new water treatment plant with additional raw water storage reservoir (Cell #3).

Other Licensing Requirements
No data found.

##### Material Use

Equipment

| Type | Quantity | Size | Use |
| --- | --- | --- | --- |
| No records found. |  |  |  |

Fuel Use

| Type | Container(s) | Capacity | UOM | Use |
| --- | --- | --- | --- | --- |
| No records found. |  |  |  |  |

Hazardous Material and Chemical Use

| Type | Container(s) | Capacity | UOM | Use |
| --- | --- | --- | --- | --- |
| No records found. |  |  |  |  |

Water Consumption

| Daily Amount (m3) | Retrieval Method | Retrieval Location |
| --- | --- | --- |
| 0 |  |  |

##### Waste and Impacts

Environmental Impacts

Waste Management

| Waste Type | Quantity Generated | Treatement Method | Disposal Method |
| --- | --- | --- | --- |
| No data found. |  |  |  |