### Project Dashboard

Arviat Wind Energy Project (148907)

Proposal Status: Conformity Determination Issued

##### Project Overview

Type of application: New

| Proponent name: | steve england |
| --- | --- |
| Company: | Hamlet of Arviat |

Schedule:

| Start Date: | 2020-05-01 |
| --- | --- |
| End Date: | 2045-10-31 |
| Operation Type: | Annual |

Project Description:

The Hamlet of Arviat proposes the installation of a 1,600 kW of wind power generation project, provided by two wind turbines, on municipal lands west of the Hamlet of Arviat. The wind installation would include construction of a power line running along the existing road from the Hamlet of Arviat out to the esker where the wind turbines are proposed to be constructed. Arviat and NRStor Remotes have come together with the shared goal of implementing a comprehensive clean energy solution that significantly reduces the amount of diesel fuel required to power the community of Arviat.

Personnel:

| Persons: | 8 |
| --- | --- |
| Days: | 90 |

##### Project Map

List of all project geometries:

| ID | Geometry | Location Name |
| --- | --- | --- |
| 4261 | polygon | Prospective Wind Turbine Siting. Please note that the final equipment footprint will be a very small component of this polygon. |
| 4262 | polyline | Prospective Power Line Path |

Planning Regions:

Kitikmeot

Affected Areas and Land Types

Municipal

Settlement Area

Keewatin Planning Region

##### Project Land Use and Authorizations

Project Land Use

All-Weather Road Access

All-Weather Road Access

Licensing Agencies
No data found.

Other Licensing Requirements
No data found.

##### Material Use

Equipment

| Type | Quantity | Size | Use |
| --- | --- | --- | --- |
| Crane | 1 | TBD | Turbine erection (tower sections, nacelle, blades) |
| Vehicles | 2 | Freight trucks | Transport materials from Barge to Site |
| Cat 329 Excavator | 1 | Heavy Equipmment | Earth works for access road, site prep, and grading |
| Volvo Excavator | 1 | Heavy Equipment | Earth works for access road, site prep, and grading |
| Cat D6 Dozers | 2 | Heavy Equipment | Site prep, foundation excavation, staging fill materials |
| Cat D8T Dozer | 1 | Heavy Equipment | Site prep, foundation excavation, staging fill materials |
| Cat 420e Backhoe | 1 | Heavy Equipment | Site prep, foundation excavation, staging fill materials. Setting small equipment onsite |
| 950 CAT Loader | 1 | Heavy Equipment | Load foundation material (if required) |
| Dump Truck | 1 | Heavy Equipment | Hauling foundation fill material (if required) |

Fuel Use

| Type | Container(s) | Capacity | UOM | Use |
| --- | --- | --- | --- | --- |
| Diesel | 5 | 2 | Cubic Meters | Power Equipment listed in section above. |

Hazardous Material and Chemical Use

| Type | Container(s) | Capacity | UOM | Use |
| --- | --- | --- | --- | --- |
| No records found. |  |  |  |  |

Water Consumption

| Daily Amount (m3) | Retrieval Method | Retrieval Location |
| --- | --- | --- |
| 0 |  |  |

##### Waste and Impacts

Environmental Impacts

Prospective impacts - No water usage - Site clean up and equipment removal following construction - Power Line Routing And Construction. Propose to build adjacent to existing road leading to future turbine locations in order to minimize impacts.

Waste Management

| Waste Type | Quantity Generated | Treatement Method | Disposal Method |
| --- | --- | --- | --- |
| No data found. |  |  |  |