### Project Dashboard

CAM-3, Shepherd Bay Water Use Licence Renewal (148955)

Proposal Status: Conformity Determination Issued

##### Project Overview

Type of application: New

| Proponent name: | Jeremy Laflamme |
| --- | --- |
| Company: | Department of National Defence |

Schedule:

| Start Date: | 2019-03-31 |
| --- | --- |
| End Date: | 2029-03-31 |
| Operation Type: | Annual |

Project Description:

The North Warning System in Canada is a chain of unmanned radar sites that provides aerospace surveillance, established to detect and allow for an early response to potential threats entering North American air space. It is part of Canada’s North American Aerospace Defense Command (NORAD) agreement with the United States, and an essential capability in our efforts to maintain Canada's sovereignty. Raytheon Canada Limited has the contract with the Department of National Defence to operate and maintain the North Warning System radar site at Shepherd Bay called CAM-3. CAM-3 is situated in the Kitikmeot Region of Nunavut on the Boothia Peninsula on the east side of Shepherd Bay. The site is about 46 m above sea level on a gently rising coastal plateau that appears to be an emerging sea bottom. CAM-3 is an unmanned site, but it is visited by CAM-M staff on scheduled quarterly preventive and corrective maintenance trips and on an as needed basis. From May to September there may be an average of 5 to 20 personnel on-site due to seasonal project activity and occasional Third Party visitors. CAM-3’s facilities include site buildings with their integral mechanical and electrical systems, power generation system, fuel tanks, radar, antennas, satellite ground terminals, weather equipment, and roads. CAM-3 is one of 11 LRRs of the North Warning System; the LRRs are located across the Yukon, Northwest Territories, Nunavut, and down the Labrador coast. The facilities are remotely monitored and controlled from North Bay on a 24/7 basis. The information they receive is automatically sent to the Canadian Air Defence Sector located at 22 Wing, CFB North Bay over a long-haul satellite communications network. This application is for the renewal of the CAM-3 Nunavut Water Board water licence (3BC-SHE0919) with the following proposed changes: -field testing of berm water (see Annex A4 for details); and -the potential to landfarm hydrocarbon impacted soils on-site (see Annex A3 for details). The Nunavut Impact Review Board (NIRB) file number for the CAM-3 water licence is 03DN117. This site's NIRB screening is attached as Annex A1. The following documents are being submitted as the Water Licence Renewal Package for CAM-3: -Application for Water Licence Amendment 3BC-SHE0919 •Annex A1 - 031016NWB6SHE NIRB Screening-ILAE •Annex A2 - 081028 3BC-SHE---- NPC Determination-ILAE •Annex A3 - CAM-3 Landfarm Plan •Annex A4 - Berm Water Sampling QAQC Plan •Annex A5 - 2017 KIT 002 BP 3BC-SHE0919 DND-Raytheon CAM-3 •Annex A6 - NWB Licence Compliance Assessment -Remote Camp Supplementary Questionnaire 3BC-SHE0919 •Annex Q1 - 3BC-SHE0919 Executive Summary •Annex Q2 – Spill Contingency Plan •Annex Q3 – CAM-3 Site Description •Annex Q4 – CAM-3 Site Plan •Annex Q5 – Jet A1 SDS •Annex Q6 – Sewage Disposal Update Addendum

Personnel:

| Persons: | 5 |
| --- | --- |
| Days: | 60 |

##### Project Map

List of all project geometries:

| ID | Geometry | Location Name |
| --- | --- | --- |
| 4649 | point | CAM-3 Site |

Planning Regions:

Qikiqtani

Affected Areas and Land Types

Settlement Area

##### Project Land Use and Authorizations

Project Land Use

Other

Licensing Agencies

NWB: Type B Licence

NWB: Type B Licence

NIRB: Screening Decision Report

Other Licensing Requirements
No data found.

##### Material Use

Equipment

| Type | Quantity | Size | Use |
| --- | --- | --- | --- |
| Grader | 1 | 9.1x2.5x3 m | Road Maintenance |
| Dozer | 1 | 5.8x3.4x3.6 m | Earthworks, snow clearing |
| Pickup truck | 2 | 5.8x2x2.4 m | Transportation |
| Dump Truck | 1 | 3x5x2.7 m | Earth works, moving water in water tank |
| Mini-excavator | 1 | 3x2.2x1 m | Earth works |
| ATV | 1 | 1650 lbs | Transportation |

Fuel Use

| Type | Container(s) | Capacity | UOM | Use |
| --- | --- | --- | --- | --- |
| Aviation fuel | 3 | 246000 | Liters | Site power generation |
| Aviation fuel | 3 | 75000 | Liters | Site power generation |
| Aviation fuel | 3 | 50000 | Liters | Aviation |
| Aviation fuel | 1 | 4100 | Liters | Vehicle refuelling |

Hazardous Material and Chemical Use

| Type | Container(s) | Capacity | UOM | Use |
| --- | --- | --- | --- | --- |
| Oil | 12 | 205 | Liters | Site maintenance |
| Glycol | 2 | 205 | Liters | Site maintenance |
| Paint | 1 | 205 | Liters | Site maintenance |
| Batteries | 1 | 205 | Liters | Power generation |

Water Consumption

| Daily Amount (m3) | Retrieval Method | Retrieval Location |
| --- | --- | --- |
| 4 | Water truck | Water Lake |

##### Waste and Impacts

Environmental Impacts

Please see attached 'Annex Q2 - Spill Contingency Plan' and 'Annex Q4 - CAM-3 Site Description'

Waste Management

| Waste Type | Quantity Generated | Treatement Method | Disposal Method |
| --- | --- | --- | --- |
| Combustible wastes | 1000 kg | None | Municipality of Cambridge Bay Landfill |
| Hazardous waste | 25 drums, 2 crates | None | Licensed Waste HAZMAT Disposal Facility (off-site) |
| Sewage (human waste) | 50 m³ | None | Sump (including greywater) |