## Instrument
| NO | Container | Technique | Parameter
Bham | 1 | Bham | SMPS | Size distribution 6-350nm
| 2 | Bham | CPC | Total particle number conc. >2.5 nm
| 3 | Bham | PSM | Size distribution 1 nm
| 4 | Bham | SP2XR | BC concentration
| 5 | Bham | Api-ToF | Conc. of ions / clusters
| 6 | BAS | neutral cluster and air ion spectrometer | particle distribution ~2 to 40 nm; ion distribution: 2 to 0.0013 cm2/V/s
| 7 | BAS | CCN counter | Number conc. of CCN
| 8 | Leeds | CCN counter | Number conc. of CCN
| 9 | Bham | FIDAS | PM mass / Size distribution from 300nm
| 10 | Bham | AMOF CO analyser | Concentration of CO
| 11 | Bham | AMOF NOx analyser | Concentration of NO/NO2
| 12 | BAS | NO/NO2 analyser from York | NO/NO2
| 13 | Bham | O3 analyser | Concentration of O3
| 14 | Bham | Aethalometer AE33 | BC concentration / light absorption
| 15 | Bham | ACSM | NR aerosol composition
| 16 | Leeds | PTR-Qi-ToF | VOC flux
| 17 |  | PTR-1000 Ultra | VOC concentration
| 18 | Bham | APS | Coarse particle Size distribution / sources
| 19 | Leeds | Picarro G2508 | CH4, N2O, H2O, NH3
| 20 |  | SVOC autosampler | Absorption tubes of SVOCs
| 21 | Bham | Xact - PM2.5 | Metal concentration PM2.5
| 22 | Bham | Xact - PM10 | Metal concentration PM10
| 23 | BAS | HONO - LOPAP | HONO concentration
| 24 | ?? | LGR NH3 analyser | NH3 but with low DL
| 25 | N/A | Digitel | Quartz 24-hr PM2.5 : primary and secodary organic tracer with / OC-EC
| 26 | N/A | Partisol | PTFE 24-hr PM2.5 ; weight + XRF for crustal elements
| 27 | N/A | Partisol | PTFE 24 hr; ion / metal
| 28 | N/A | TSI HIgh vol impactor | PTFE - Size distribution: composition
| 29 | N/A | MSV high vol | Quartz: C isotope
| 30 | N/A | MSV high vol | Quartz: S / N isotope
| 31 | N/A | MiniVol Low Vol | Polycarbonate: SEM individual particle
| 32 | N/A | MOUDI | particle size distribution
| 33 | N/A | MOUDI | particle size distribution
| 34 | N/A | High vol EcoTech | Nutrients - Fe
PKU | 35 |  | Radiometer | J1OD
| 36 | Leeds | BECCAS N2O5 monitor | N2O5
| 37 | Leeds | BECCAS | IO / I2
| 38 | Leeds | HCHO monitor | HCHO
PU-Kumamoto | 39 | N/A | TSI HIgh vol impactor | Bioaerosol - offline
CEH | 40 | BAS | AiRRmonia | NH3 concentration
CQ-CAS | 41 | Bham | SPAMS | Single particle composition
CAMS | 42 | Bham | HR-ToF-AMS | Size resolved NR - PM1
BAS | 43 | BAS | IN counter | Ice nuclei conc.
| 44 | BAS | CPC | Total particle number conc. >2.5 nm
| 45 | BAS | SMPS | Size distribution 10-500nm
Cranfield | 46 | BAS | iDirac | Isoprene and DMS
Zhejiang | 47 | N/A | Impactors | Single particle samples
| 48 | Bham | nephelometer | Light scattering
York | 49 | BAS | SO2 analyser | SO2
PML | 50 | N/A | Anemometers | Flux
| 51 | N/A | WETLabs Acs absorption and transmission meter (ACS 122) | TBC
| 52 | N/A | WETLabs ECO-BB3 backscattering meter | back scatter
| 53 | N/A | WETLabs DH4/DH8 Data Handler | N/A
| 54 | N/A | WETLabs ECO-BB3 backscattering meter | back scatter
Leeds | 55 | Leeds | PINE | IN numbers
| 56 | Leeds | SMPS (TSI) | particles 10-560 nm
| 57 | Leeds | APS | particles >300 nm
| 58 | Leeds | Digitel low vol | IN numbers
| 59 | Leeds | Mesalab low vol samplers | IN numbers
| 60 | Leeds | Cascade impactors: Moudi + SHARK | IN numbers
Manchester | 61 | Leeds | Multi Angle Absorption Photometer | BC concentration
| 62 | Leeds | WIBS | bioaerosol concentration
| 63 | Leeds | CAPS Spectroscopy | Aerosol extinction at 530 nm