Inuit Mining & Exploration

Fuel Spill Contingency Plan

Cache Zone Property

NTI Mineral Exploration Agreement: WC08-25-01

IOL Parcel: WC-08

NTS: 055L07

This fuel spill plan is to be active from the date of issuance by Nunavut Water Board and land use permits provided by Kivalliq Inuit Association within the Mineral Exploration Agreement between Nunavut Tunngavik Incorporated and John William Tugak.

Any updates for this application and other agencies related to this project may forward to me:

Inuit Mining & Exploration

C/O: John Tugak

220-63 Uqquaq Street

PO Box 1270

Rankin Inlet, NU

X0C-0G0

C: (867)-525-0112

E: jtugak@hotmail.com

Equipment for Camp/Property

- One 2000 Watt Generator – to charge device and light the tent

Cabins & Tents

- Tent – 8x10 (shore of Quartzite Lake)

Diamond Drilling Equipment

- Shaw Backpack Drilling Equipment, set of two with extra motor (no foot print similar to ice auger)

- Gradiometer 3D use as magnetics (shallow up to 5 meter depth)

Fuel & Oil

- 1 Barrel of 205 Litre Gasoline

- 2 Liter of 10W-30 for Generator

Fuel drum to be stored 31 metres away from high water mark and will be brought to location spring of 2026.

Response Team

Owner: John Tugak

Online course will be taken “Spill Response Training” in February 2026.

Camp & Fuel Location

One drum will be stored on location coordinates below in UTM format:

417667 East/6916759 North – Zone 15, Fuel Location

417630 East/6916764 North – Zone 15, Camp Location

Spill Incident Scope of Action

1. Stay alert and consider safety first. Identify the source of leak or spill and the type of product.

2. Assess the hazards to persons in the vicinity of the spill.

3. Isolate or remove any potential ignition source.

4. Control danger to human life if possible.

5. Assess whether the spill can be readily stopped or brought under control.

6. If safe (and possible) try to stop the flow.

7. Report the spill to the Project Supervisor and to the Nu 24-hour Spill Report Line at (867) 920-8130.

8. Initiate or resume clean up.

Daily Practice & Activities

All personnel will be given a copy of Fuel Spill Contingency Plan before the start of any work plan. Daily Toolbox to exercise Safety Meeting for safe work environment.

Drill Waste & Treatment Method

All drill waste will be disposed of using sump pump and properly drained past 31 meters from any body of water within the property. Using 5-gallon empty jerry can and battery-operated sump pump, the wastewater inside each drill hole to be pumped and drained properly into dug out pit and covered with earth gravel as required by regulatory agencies.

The drill uses one gallon of water per hour for the diamond drill and estimated to use approximately 6-8 gallons of water per day during drilling phase.

Location Map

Cache Zone is approximately 108 kilometres mostly west of the community of Whale Cove, Nunavut

Spill Report Form

Website: 128-spill_report_form_e_2024_fillable_003.pdf (SECURED)