Fuel will be stored securely and in accordance with specified storage instructions. Fuel drums will be stored in berms at the camp site to contain any leaks that may occur during storage in the field. Stored fuel will be regularly inspected and maintained to reduce the risk of a spill occurring. Spill kits will be brought to the site and stored at all refueling stations.

In the event of a fuel spill, personnel will react in the most immediate, safe, and environmentally responsible manner. Spills will be reported, no matter how small, to the 24-Hour Spill Report Line, Water Resource Officer, Environment Canada, and Qikiqtani Inuit Association Land Use Inspector.

A spill report form will be completed as soon as possible. After the source of a spill is determined, efforts will focus on stemming the flow, then containing the spill. Cleanup and/or remediation will occur following these steps per the advice of the 24-Hour Spill Report Line and Water Resource Officer as necessary.

Contaminated materials (water, ice, snow, soil) and cleaning supplies will be stored securely in lidded plastic buckets, or polypropylene bags. Contaminated materials will be removed from the field and disposed at an appropriate and approved facility.